## Instructions
UTILITY DOWNTIME & RCA TEMPLATE — HOW TO USE
WHAT THIS WORKBOOK DOES
Log every utility downtime event, investigate the ones that matter, and read availability, MTTR, MTBF and Pareto analysis straight off the Dashboard. No macros are required — everything works the moment you open it.
THE SHEETS, IN THE ORDER YOU USE THEM
| 1. Downtime Log | Every event goes here. This is your daily sheet.
| 2. RCA Register | One row per investigation. Only for events the log flags as needing an RCA.
| 3. RCA Worksheet | A printable blank form for the investigation meeting itself.
| 4. Equipment Analysis | Events, hours, MTTR and rank for all 72 assets, plus the Pareto top 10.
| 5. Analysis Engine | The calculation layer behind the Dashboard. Never needs opening.
| 6. Dashboard | One control panel, eight KPIs, two tables and two charts. Everything on it answers to the control panel.
| 7. MasterData | Every drop-down list. Edit here to add an asset, failure mode or description.
CELL COLOUR LEGEND
| White cells | Type here. These are your inputs.
| Yellow cells (Dashboard) | Settings — period, equipment count, year, RCA triggers, ranking controls.
| Grey cells | Calculated by formula. Do not type over them.
| Blue text | Optional manual entry — the Override Hrs column.
| Purple header (End Date) | Only needed for a stoppage running past the next morning.
| Orange 'YES' | The log is telling you this event needs a root cause analysis.
LOGGING AN EVENT
| 1 | Type the Date once. Pick the Shift: Day (7am-7pm) or Night (7pm-7am).
| 2 | Pick the Equipment Category. The Equipment drop-down then shows only that category's assets.
| 3 | Pick the Failure Category, then the Issue / Failure Mode — it filters to match.
| 4 | Pick an Issue Description from the list, or type your own — the list suggests, it does not restrict.
| 5 | Pick Start Time and End Time from the drop-downs. A night shift running past midnight is handled automatically: 22:15 to 03:30 correctly reads 5.25 hours.
| 6 | Pick who attended from the section list, then record the Immediate Action Taken, spares, impact and Status. 'Immediate Action' means what you did to restore service — the deeper analysis belongs on the RCA Register.
STOPPAGES LONGER THAN ONE NIGHT — IMPORTANT
Start Time and End Time are clock times only, so on their own they can never describe more than 24 hours. The workbook assumes the equipment came back the same day, or the next morning if the clock rolled past midnight. That covers almost every event.
When a stoppage runs longer than that — waiting for a spare, a vendor, or a CAPEX approval — enter the actual return-to-service date in the End Date column (purple header, column L). The duration then measures from the event date and start time through to that end date and time, however many days apart they are. Leave the column blank for everything else.
Two safeguards: any Downtime over 24 hours turns purple so a genuine multi-day outage is visible at a glance, and an End Date earlier than the event date turns solid red. If a long outage looks suspiciously short, the End Date is the first thing to check. As a fallback you can always ignore the times entirely and type the total hours straight into Override Hrs.
WHEN DOES AN EVENT NEED AN RCA?
The log decides for you. The RCA Required column turns orange and reads YES when either the downtime reaches your hours threshold, or the same equipment has failed the same way the set number of times. Both thresholds are yours to set on the Dashboard (default: 4 hours, or 3 repeat failures). That second trigger is the important one — it is how a small, recurring fault gets caught before it becomes an audit finding.
RUNNING AN RCA
| 1 | Print the RCA Worksheet and work through it with the team.
| 2 | Open the RCA Register and type the Event ID (e.g. DT-0001) into column B. The date, equipment, failure category, downtime hours and repeat count fill in automatically.
| 3 | Transfer your conclusions across. Note the two separate action columns: Corrective Action is what you did to fix it now; Preventive Action is what stops it happening again. An RCA with only a corrective action has not finished its job.
| 4 | If the fix needs money, set CAPEX Required to Yes and enter the estimated cost. Filtering that column gives you a costed, evidence-backed list to put in front of management.
| 5 | Nothing closes until Effectiveness Verification is done. A target date that passes without closure turns red automatically.
THE CONTROL PANEL — HOW THE WHOLE DASHBOARD WORKS
There is one control panel at the top of the Dashboard, in three groups, and everything below it obeys all of it at once — both KPI rows, both tables and both charts. There is nothing to refresh and nothing to re-sort by hand.
| Period & Scope (left) | The reporting window, how many assets you are measuring availability against, and the two RCA triggers.
| Filters (middle) | Six filters: equipment category, individual equipment, failure category, downtime type, shift and status. Leave one on '(All ...)' to include everything, or pick a value to narrow the entire dashboard to it. They stack — set category to Chillers and shift to Night and you are looking only at night shift chiller events.
| View controls (right) | 'Analyse by' decides what the left-hand table counts. 'Sort by', 'Order' and 'Show top' arrange it. 'Group trend by' and 'Trend order' rebuild the right-hand table.
ONE TABLE INSTEAD OF SIX
The left-hand table is not fixed to equipment. Change 'Analyse by' and it re-counts everything against a different dimension: Equipment, Equipment Category, Failure Category, Issue / Failure Mode, Downtime Type, Shift, Attended By, Impact on Production or Status. The heading and the Pareto chart follow automatically.
So the question 'which section attends the most downtime?' is the same table as 'which failure mode costs us most hours?' — just a different setting. Sort by hours to see where production is lost, by number of events to see what nags constantly in short bursts, or by MTTR to see where repairs drag, which is usually a spares or skills problem rather than a machine one. Those three orderings are rarely the same list.
GROUPING BY DAY, WEEK, MONTH, QUARTER OR YEAR
The right-hand table rebuilds its own time periods from your reporting window. Set 'Group trend by' to Week and it lays out calendar weeks starting Monday; set it to Quarter and it lays out quarters. Periods that fall past your end date simply disappear.
'Trend order' then lets you read it two ways. Chronological shows the shape over time — is it getting better or worse. Highest hours first ignores the calendar and puts your worst weeks or months at the top, which is the faster way to find the period worth investigating. Day view covers the first 60 days of the window.
READING THE REST OF THE DASHBOARD
| Fleet Availability | 1 minus (total downtime hours / total available equipment-hours), where available hours = calendar hours in the period x equipment in scope. Reduce the equipment count if you only want to measure a sub-set.
| MTTR | Mean time to repair — average downtime hours per event. Rising MTTR usually means spares or skills, not the machine.
| MTBF | Mean time between failures — uptime hours divided by number of events. Falling MTBF means the asset itself is deteriorating.
| Pareto chart | The vital few. Where the red cumulative line crosses 80%, everything to its left is where your maintenance effort and CAPEX should go first.
| Chronic Failures | The same asset failing the same way, at or above your repeat threshold. This is the strongest evidence you can put in an audit response, because it shows a pattern rather than an incident. Blank means nothing qualifies yet.
| Equipment Analysis | The Dashboard shows only your top few. That sheet lists all 72 assets, including the ones with no events, under the same control panel.
ADDING A NEW ASSET, FAILURE MODE OR DESCRIPTION
| 1 | Go to MasterData and type the new item at the BOTTOM of the relevant column.
| 2 | Formulas > Name Manager, find that list's name (e.g. EQ_Boilers), and extend its range by one row.
| 3 | For a brand-new asset, also insert a row on Equipment Analysis and on the Failure Matrix, and copy the formulas down from the row above, and add its rows to Block 3 of the Analysis Engine.
SHEET PROTECTION — WHAT IS LOCKED AND WHY
Every sheet is protected. You can type in the input cells exactly as before; what you cannot do is overwrite a formula. This matters because a broken formula does not announce itself — the Dashboard simply starts reporting a wrong number, and nothing on screen looks unusual. Column widths, row heights and the filter drop-downs all still work normally.
| What stays editable | Downtime Log: every column except Event ID, Calculated Hrs, Downtime (Hrs) and RCA Required. RCA Register: the Linked Event ID and the whole investigation; the five grey columns pulled from the log are locked. Dashboard: the yellow control panel only. MasterData: twenty blank rows under each list, so you can add new items without unlocking.
| Sorting is blocked | Deliberately. Event IDs are generated from row position, so sorting the log would leave RCA-001 pointing at a different event than the one it was raised against. Use the filter drop-downs instead, or the Interactive Ranked View on the Dashboard, which sorts without moving any data.
| To unlock a sheet | Review tab > Unprotect Sheet. There is no password. Do this when you need to add equipment rows, extend the log past 1,000 events, or change a formula.
| To lock it again | Review tab > Protect Sheet > OK. Leave the password box empty. Tick 'Select locked cells', 'Select unlocked cells', 'Format columns', 'Format rows' and 'Use AutoFilter' to restore the same permissions.
CAPACITY
The log holds 1,000 events and the RCA Register holds 200. To extend either, select the last row, copy it, and paste down; then widen the ranges in the Dashboard, Equipment Analysis and Failure Engine formulas from 1003 to your new last row.
ABOUT THE POP-UP CALENDAR
Excel has no built-in pop-up calendar — the old date-picker control was retired and does not work in 64-bit Excel. The green DATE PICKER block on the Downtime Log is a live reference calendar that always opens on the current month with today highlighted. Install the optional macro and it becomes click-to-fill. See the Macro Setup sheet.
| Scope: | 72 utility assets across 13 categories, 75 preset failure modes, 46 preset issue descriptions.

## MasterData
MASTER DATA — the reference lists behind every drop-down. To add an item, type it at the BOTTOM of a column, then extend the named range (Formulas > Name Manager).
Equipment Category | Boilers | Air Compressors | Air Dryers | Degassers | Chillers | Jet Pumps | Boreholes | UV Systems | Filtration | Pumps | Water Treatment | Storage Tanks | Distribution Systems | Failure Category | Mechanical | Electrical | Instrumentation and Control | Process and Utility | Operational | Maintenance and Spares | Planned Maintenance | External Factors | Issue Description | Time (15-min steps) | Shift | Downtime Type | Attended By | Impact on Production | Status | Root Cause Category (6M) | Action Type | RCA Status | Yes / No | Yes / No / Not Yet Due | Sort By | Sort Order | Show Top N | Group Trend By | Trend Order | Filter: Equipment Category | Filter: Equipment | Filter: Failure Category | Filter: Downtime Type | Filter: Shift | Filter: Status | All Equipment | All Failure Modes | Analyse By | Dim Column | Dim List Name
Boilers | Boiler 1 (LOOS) | Air Compressor 2 - Oil (Ingersoll Rand) | Air Dryer 1 | Degasser 1 | TRANE Chiller 1 + Cooling Tower | Jet Pumps (Expansion) | Borehole 1 | UV-1 | Pressure Filter Tank 1 | Raw Water Pumps | RO Plant | Utility Tanks (Raw Water, Treated Water, Chilled Water, Boiler Feed Water, RO Water) | Steam Distribution | Mechanical | Bearing failure | Motor failure / burnt winding | Sensor / transmitter fault | Low feed water supply | Operator error | Spare parts unavailable | Planned preventive maintenance | Utility supply failure | Equipment failed to start | 0:00 | Day Shift (7am - 7pm) | Unplanned Breakdown | Utility Section (In-house) | Full Stoppage | Open | Man (people / skill / manning) | Immediate Fix Only | Not Started | Yes | Yes | Downtime Hours | Highest first | 5 | Day | Chronological | (All Categories) | (All Equipment) | (All Failure Categories) | (All Types) | (All Shifts) | (All Statuses) | Boiler 1 (LOOS) | Bearing failure | Equipment | 5 | EQ_ALL
Air Compressors | Boiler 2 (SHELLMAX) | Air Compressor 3 - Oil-free (Ingersoll Rand) | Air Dryer 2 | Degasser 2 | TRANE Chiller 2 + Cooling Tower | Jet Pumps (New Building) | Borehole 2 | UV-2 | Pressure Filter Tank 2 | Treated Water Pumps |  | Air Receiver Tanks | Treated Water Distribution | Electrical | Mechanical seal / gasket leakage | Public power (PHCN) outage | PLC or controller fault | Poor raw water quality | Delayed start-up / shutdown | Awaiting vendor / OEM support | Statutory / insurance inspection | LPFO / gas supply shortage | Equipment tripped during operation | 0:15 | Night Shift (7pm - 7am) | Planned Maintenance | Electrical & Instrumentation Section | Partial / Reduced Output | In Progress | Machine (equipment / design) | Repair + Procedure Change | Investigation Ongoing | No | No | No. of Events | Lowest first | 10 | Week | Highest hours first | Boilers | Boiler 1 (LOOS) | Mechanical | Unplanned Breakdown | Day Shift (7am - 7pm) | Open | Boiler 2 (SHELLMAX) | Mechanical seal / gasket leakage | Equipment Category | 4 | EQ_CATEGORIES
Air Dryers | Boiler 3 (THERMAX) | Air Compressor 4 - Oil-free (Ingersoll Rand) | Air Dryer 3 | Degasser 3 | TRANE Chiller 3 + Cooling Tower | Jet Pumps (Old Building 1) | Borehole 3 | UV-3 | Pressure Filter Tank 3 | Chilled Water Inlet Pumps |  |  | Chilled Water Distribution | Instrumentation and Control | Coupling failure | Generator changeover failure | HMI / display fault | High conductivity / TDS | Improper changeover | Awaiting CAPEX approval | Boiler chemical cleaning / blowdown | Diesel supply shortage | Equipment shut down on alarm | 0:30 |  | External Supply Failure | Automation Section | Standby Unit Took Over | Awaiting Spares | Material (spares / consumables / water quality) | Preventive Maintenance Revision | Root Cause Identified |  | Not Yet Due | MTTR (Hrs) |  | 15 | Month | Lowest hours first | Air Compressors | Boiler 2 (SHELLMAX) | Electrical | Planned Maintenance | Night Shift (7pm - 7am) | In Progress | Boiler 3 (THERMAX) | Coupling failure | Failure Category | 7 | FAILURE_CATEGORIES
Degassers | Boiler 4 (THERMAX) | Air Compressor 5 - Oil-free (Ingersoll Rand) | Air Dryer 4 |  | TRANE Chiller 4 + Cooling Tower | Jet Pumps (Old Building 2) | Borehole 4 | UV-4 | Pressure Filter Tank 4 | Chilled Water Outlet Pumps |  |  | Steam Condensate Collection | Process and Utility | Impeller / rotor damage | Contactor / relay fault | Pressure switch fault | Steam pressure drop | Delayed response to alarm | Extended repair duration | Descaling / de-fouling | Weather / environmental event | Fault code displayed on HMI / panel | 0:45 |  | Idle / Standby | R&A Section | No Production Impact | Awaiting CAPEX Approval | Method (procedure / practice) | Spare Parts Stocking | Action In Progress |  |  | Name (A-Z) |  | 20 | Quarter |  | Air Dryers | Boiler 3 (THERMAX) | Instrumentation and Control | External Supply Failure |  | Awaiting Spares | Boiler 4 (THERMAX) | Impeller / rotor damage | Issue / Failure Mode | 8 | MODE_ALL
Chillers | Boiler 5 (THERMAX) | Air Compressor 6 - Oil-free (Ingersoll Rand) | Air Dryer 5 |  | TRANE Chiller 5 + Cooling Tower | Jet Pumps (Debottleneck) | Borehole 5 |  | Pressure Filter Tank 5 |  |  |  | Compressed Air Distribution | Operational | Belt failure or slippage | Cable or wiring fault | Level control fault | Low condensate return | Manpower shortage | Repeat failure / poor previous repair | Major overhaul | Vendor / contractor delay | Abnormal noise observed | 1:00 |  |  | General Workshop |  | Awaiting Vendor | Measurement (instrumentation / calibration) | Training / Competence | Awaiting CAPEX Approval |  |  |  |  | 25 | Year |  | Degassers | Boiler 4 (THERMAX) | Process and Utility | Idle / Standby |  | Awaiting CAPEX Approval | Boiler 5 (THERMAX) | Belt failure or slippage | Downtime Type | 6 | LIST_TYPE
Jet Pumps |  | Air Compressor 7 - Oil-free (Ingersoll Rand) | Air Dryer 6 |  | VAM Chiller 1 + Cooling Tower |  | Borehole 6 |  | Pre-Filter Bag |  |  |  |  | Maintenance and Spares | Valve failure (passing / stuck) | VFD / soft starter fault | Temperature control fault | Refrigerant loss / low charge | Wrong parameter setting | Tooling unavailable | Plant-wide shutdown | Production hold (no demand) | Excessive vibration observed | 1:15 |  |  | External Vendor |  | Closed | Environment (external / ambient / supply) | Equipment Modification | Completed - Pending Verification | [7 empty] | Chillers | Boiler 5 (THERMAX) | Operational |  |  | Awaiting Vendor | Air Compressor 2 - Oil (Ingersoll Rand) | Valve failure (passing / stuck) | Shift | 3 | LIST_SHIFT
Boreholes |  | Air Compressor 8 - Oil-free (Ingersoll Rand) | Air Dryer 7 |  | VAM Chiller 2 + Cooling Tower |  | Borehole 7 |  | Post-Filter Bag |  |  |  |  | Planned Maintenance | Pipe or line leakage | Overload trip | Solenoid valve fault | Low chilled water flow |  |  | Installation / upgrade project |  | Overheating observed | 1:30 | [6 empty] | CAPEX - New Equipment | Closed - Verified Effective | [7 empty] | Jet Pumps | Air Compressor 2 - Oil (Ingersoll Rand) | Maintenance and Spares |  |  | Closed | Air Compressor 3 - Oil-free (Ingersoll Rand) | Pipe or line leakage | Attended By | 18 | LIST_ATTENDED
UV Systems |  | Air Compressor 9 - Oil-free (Ingersoll Rand) | Air Dryer 8 |  | VAM Chiller 3 + Cooling Tower | [8 empty] | External Factors | Excessive vibration / misalignment | Panel / circuit breaker fault | Calibration drift | Compressed air pressure drop |  |  | Calibration exercise |  | Leakage observed | 1:45 | [6 empty] | CAPEX - Equipment Upgrade | [8 empty] | Boreholes | Air Compressor 3 - Oil-free (Ingersoll Rand) | Planned Maintenance |  |  |  | Air Compressor 4 - Oil-free (Ingersoll Rand) | Excessive vibration / misalignment | Impact on Production | 19 | LIST_IMPACT
Filtration |  | Air Compressor 11 - Oil (Ingersoll Rand) | Air Dryer 9 |  | VAM Chiller 4 + Cooling Tower | [9 empty] | Tube leakage | Earth fault | Communication / signal loss | Fouling / scaling |  |  |  |  | Low output pressure | 2:00 | [6 empty] | Vendor / Contract Change | [8 empty] | UV Systems | Air Compressor 4 - Oil-free (Ingersoll Rand) | External Factors |  |  |  | Air Compressor 5 - Oil-free (Ingersoll Rand) | Tube leakage | Status | 20 | LIST_STATUS
Pumps |  | Air Compressor 12 - Oil (Ingersoll Rand) | Air Dryer 10 | [11 empty] | Fan / blower fault | Capacitor / power factor fault | Flow meter fault | Chemical dosing failure |  |  |  |  | Low output flow | 2:15 | [15 empty] | Filtration | Air Compressor 5 - Oil-free (Ingersoll Rand) |  |  |  |  | Air Compressor 6 - Oil-free (Ingersoll Rand) | Fan / blower fault
Water Treatment | [14 empty] | Gearbox fault | Voltage fluctuation | Safety interlock trip | Cooling tower fouling |  |  |  |  | High discharge temperature | 2:30 | [15 empty] | Pumps | Air Compressor 6 - Oil-free (Ingersoll Rand) |  |  |  |  | Air Compressor 7 - Oil-free (Ingersoll Rand) | Gearbox fault
Storage Tanks | [14 empty] | General mechanical wear |  |  | Air / gas locking |  |  |  |  | Pressure fluctuation | 2:45 | [15 empty] | Water Treatment | Air Compressor 7 - Oil-free (Ingersoll Rand) |  |  |  |  | Air Compressor 8 - Oil-free (Ingersoll Rand) | General mechanical wear
Distribution Systems | [14 empty] | Lubrication failure |  |  | Resin exhaustion |  |  |  |  | Flow fluctuation | 3:00 | [15 empty] | Storage Tanks | Air Compressor 8 - Oil-free (Ingersoll Rand) |  |  |  |  | Air Compressor 9 - Oil-free (Ingersoll Rand) | Lubrication failure
[18 empty] | Membrane fouling |  |  |  |  | Loss of power to equipment | 3:15 | [15 empty] | Distribution Systems | Air Compressor 9 - Oil-free (Ingersoll Rand) |  |  |  |  | Air Compressor 11 - Oil (Ingersoll Rand) | Motor failure / burnt winding
[23 empty] | Motor overload trip | 3:30 | [16 empty] | Air Compressor 11 - Oil (Ingersoll Rand) |  |  |  |  | Air Compressor 12 - Oil (Ingersoll Rand) | Public power (PHCN) outage
[23 empty] | Emergency stop activated | 3:45 | [16 empty] | Air Compressor 12 - Oil (Ingersoll Rand) |  |  |  |  | Air Dryer 1 | Generator changeover failure
[23 empty] | Low water level alarm | 4:00 | [16 empty] | Air Dryer 1 |  |  |  |  | Air Dryer 2 | Contactor / relay fault
[23 empty] | High water level alarm | 4:15 | [16 empty] | Air Dryer 2 |  |  |  |  | Air Dryer 3 | Cable or wiring fault
[23 empty] | Water carryover observed | 4:30 | [16 empty] | Air Dryer 3 |  |  |  |  | Air Dryer 4 | VFD / soft starter fault
[23 empty] | Foaming in boiler observed | 4:45 | [16 empty] | Air Dryer 4 |  |  |  |  | Air Dryer 5 | Overload trip
[23 empty] | Low steam pressure | 5:00 | [16 empty] | Air Dryer 5 |  |  |  |  | Air Dryer 6 | Panel / circuit breaker fault
[23 empty] | Steam leakage observed | 5:15 | [16 empty] | Air Dryer 6 |  |  |  |  | Air Dryer 7 | Earth fault
[23 empty] | Condensate not returning | 5:30 | [16 empty] | Air Dryer 7 |  |  |  |  | Air Dryer 8 | Capacitor / power factor fault
[23 empty] | Compressed air pressure below set point | 5:45 | [16 empty] | Air Dryer 8 |  |  |  |  | Air Dryer 9 | Voltage fluctuation
[23 empty] | Moisture in compressed air line | 6:00 | [16 empty] | Air Dryer 9 |  |  |  |  | Air Dryer 10 | Sensor / transmitter fault
[23 empty] | Dew point out of specification | 6:15 | [16 empty] | Air Dryer 10 |  |  |  |  | Degasser 1 | PLC or controller fault
[23 empty] | Chilled water temperature above set point | 6:30 | [16 empty] | Degasser 1 |  |  |  |  | Degasser 2 | HMI / display fault
[23 empty] | Refrigerant low pressure alarm | 6:45 | [16 empty] | Degasser 2 |  |  |  |  | Degasser 3 | Pressure switch fault
[23 empty] | Cooling tower fan not running | 7:00 | [16 empty] | Degasser 3 |  |  |  |  | TRANE Chiller 1 + Cooling Tower | Level control fault
[23 empty] | Poor water quality at outlet | 7:15 | [16 empty] | TRANE Chiller 1 + Cooling Tower |  |  |  |  | TRANE Chiller 2 + Cooling Tower | Temperature control fault
[23 empty] | High conductivity / TDS at outlet | 7:30 | [16 empty] | TRANE Chiller 2 + Cooling Tower |  |  |  |  | TRANE Chiller 3 + Cooling Tower | Solenoid valve fault
[23 empty] | Turbidity above limit | 7:45 | [16 empty] | TRANE Chiller 3 + Cooling Tower |  |  |  |  | TRANE Chiller 4 + Cooling Tower | Calibration drift
[23 empty] | UV lamp failure alarm | 8:00 | [16 empty] | TRANE Chiller 4 + Cooling Tower |  |  |  |  | TRANE Chiller 5 + Cooling Tower | Communication / signal loss
[23 empty] | Filter differential pressure high | 8:15 | [16 empty] | TRANE Chiller 5 + Cooling Tower |  |  |  |  | VAM Chiller 1 + Cooling Tower | Flow meter fault
[23 empty] | Pump not priming / loss of suction | 8:30 | [16 empty] | VAM Chiller 1 + Cooling Tower |  |  |  |  | VAM Chiller 2 + Cooling Tower | Safety interlock trip
[23 empty] | Pump running dry | 8:45 | [16 empty] | VAM Chiller 2 + Cooling Tower |  |  |  |  | VAM Chiller 3 + Cooling Tower | Low feed water supply
[23 empty] | Borehole yield dropped | 9:00 | [16 empty] | VAM Chiller 3 + Cooling Tower |  |  |  |  | VAM Chiller 4 + Cooling Tower | Poor raw water quality
[23 empty] | Tank level low | 9:15 | [16 empty] | VAM Chiller 4 + Cooling Tower |  |  |  |  | Jet Pumps (Expansion) | High conductivity / TDS
[23 empty] | Tank overflow | 9:30 | [16 empty] | Jet Pumps (Expansion) |  |  |  |  | Jet Pumps (New Building) | Steam pressure drop
[23 empty] | Scheduled maintenance carried out | 9:45 | [16 empty] | Jet Pumps (New Building) |  |  |  |  | Jet Pumps (Old Building 1) | Low condensate return
[23 empty] | Statutory inspection carried out | 10:00 | [16 empty] | Jet Pumps (Old Building 1) |  |  |  |  | Jet Pumps (Old Building 2) | Refrigerant loss / low charge
[23 empty] | Equipment isolated for repairs | 10:15 | [16 empty] | Jet Pumps (Old Building 2) |  |  |  |  | Jet Pumps (Debottleneck) | Low chilled water flow
[23 empty] | Equipment on standby (not required) | 10:30 | [16 empty] | Jet Pumps (Debottleneck) |  |  |  |  | Borehole 1 | Compressed air pressure drop
[23 empty] | Equipment awaiting spare parts | 10:45 | [16 empty] | Borehole 1 |  |  |  |  | Borehole 2 | Fouling / scaling
[23 empty] | Equipment awaiting vendor attention | 11:00 | [16 empty] | Borehole 2 |  |  |  |  | Borehole 3 | Chemical dosing failure
[23 empty] | Other (describe in Remarks) | 11:15 | [16 empty] | Borehole 3 |  |  |  |  | Borehole 4 | Cooling tower fouling
[24 empty] | 11:30 | [16 empty] | Borehole 4 |  |  |  |  | Borehole 5 | Air / gas locking
[24 empty] | 11:45 | [16 empty] | Borehole 5 |  |  |  |  | Borehole 6 | Resin exhaustion
[24 empty] | 12:00 | [16 empty] | Borehole 6 |  |  |  |  | Borehole 7 | Membrane fouling
[24 empty] | 12:15 | [16 empty] | Borehole 7 |  |  |  |  | UV-1 | Operator error
[24 empty] | 12:30 | [16 empty] | UV-1 |  |  |  |  | UV-2 | Delayed start-up / shutdown
[24 empty] | 12:45 | [16 empty] | UV-2 |  |  |  |  | UV-3 | Improper changeover
[24 empty] | 13:00 | [16 empty] | UV-3 |  |  |  |  | UV-4 | Delayed response to alarm
[24 empty] | 13:15 | [16 empty] | UV-4 |  |  |  |  | Pressure Filter Tank 1 | Manpower shortage
[24 empty] | 13:30 | [16 empty] | Pressure Filter Tank 1 |  |  |  |  | Pressure Filter Tank 2 | Wrong parameter setting
[24 empty] | 13:45 | [16 empty] | Pressure Filter Tank 2 |  |  |  |  | Pressure Filter Tank 3 | Spare parts unavailable
[24 empty] | 14:00 | [16 empty] | Pressure Filter Tank 3 |  |  |  |  | Pressure Filter Tank 4 | Awaiting vendor / OEM support
[24 empty] | 14:15 | [16 empty] | Pressure Filter Tank 4 |  |  |  |  | Pressure Filter Tank 5 | Awaiting CAPEX approval
[24 empty] | 14:30 | [16 empty] | Pressure Filter Tank 5 |  |  |  |  | Pre-Filter Bag | Extended repair duration
[24 empty] | 14:45 | [16 empty] | Pre-Filter Bag |  |  |  |  | Post-Filter Bag | Repeat failure / poor previous repair
[24 empty] | 15:00 | [16 empty] | Post-Filter Bag |  |  |  |  | Raw Water Pumps | Tooling unavailable
[24 empty] | 15:15 | [16 empty] | Raw Water Pumps |  |  |  |  | Treated Water Pumps | Planned preventive maintenance
[24 empty] | 15:30 | [16 empty] | Treated Water Pumps |  |  |  |  | Chilled Water Inlet Pumps | Statutory / insurance inspection
[24 empty] | 15:45 | [16 empty] | Chilled Water Inlet Pumps |  |  |  |  | Chilled Water Outlet Pumps | Boiler chemical cleaning / blowdown
[24 empty] | 16:00 | [16 empty] | Chilled Water Outlet Pumps |  |  |  |  | RO Plant | Descaling / de-fouling
[24 empty] | 16:15 | [16 empty] | RO Plant |  |  |  |  | Utility Tanks (Raw Water, Treated Water, Chilled Water, Boiler Feed Water, RO Water) | Major overhaul
[24 empty] | 16:30 | [16 empty] | Utility Tanks (Raw Water, Treated Water, Chilled Water, Boiler Feed Water, RO Water) |  |  |  |  | Air Receiver Tanks | Plant-wide shutdown
[24 empty] | 16:45 | [16 empty] | Air Receiver Tanks |  |  |  |  | Steam Distribution | Installation / upgrade project
[24 empty] | 17:00 | [16 empty] | Steam Distribution |  |  |  |  | Treated Water Distribution | Calibration exercise
[24 empty] | 17:15 | [16 empty] | Treated Water Distribution |  |  |  |  | Chilled Water Distribution | Utility supply failure
[24 empty] | 17:30 | [16 empty] | Chilled Water Distribution |  |  |  |  | Steam Condensate Collection | LPFO / gas supply shortage
[24 empty] | 17:45 | [16 empty] | Steam Condensate Collection |  |  |  |  | Compressed Air Distribution | Diesel supply shortage
[24 empty] | 18:00 | [16 empty] | Compressed Air Distribution | [5 empty] | Weather / environmental event
[24 empty] | 18:15 | [22 empty] | Vendor / contractor delay
[24 empty] | 18:30 | [22 empty] | Production hold (no demand)
18:45
19:00
19:15
19:30
19:45
20:00
20:15
20:30
20:45
21:00
21:15
21:30
21:45
22:00
22:15
22:30
22:45
23:00
23:15
23:30
23:45

## Downtime Log
UTILITY EQUIPMENT — DOWNTIME LOG | [22 empty] | DATE PICKER | [6 empty] | 2026-09-01 | < calendar control cells - leave alone
Enter the DATE once, then pick Start Time and End Time. A night shift running past midnight is handled automatically. ONLY if the stoppage runs longer than that — past the next morning — enter the End Date in column L; leave it blank otherwise. Grey columns are calculated. Root cause analysis lives on the 'RCA Register' sheet, not here. Row 4 is a worked example; delete it before you go live. | [22 empty] | < | September 2026 |  |  |  |  | >
Event ID | Date | Shift | Equipment Category | Equipment | Downtime Type | Failure Category | Issue / Failure Mode | Issue Description | Start Time | End Time | End Date (only if past next morning) | Calculated Hrs | Override Hrs | Downtime (Hrs) | Immediate Action Taken | Spares / Materials Used | Attended By | Impact on Production | Status | RCA Required? | RCA Ref. | Remarks | Mon | Tue | Wed | Thu | Fri | Sat | Sun
DT-0001 | 2026-08-04 | Night Shift (7pm - 7am) | Boilers | Boiler 3 (THERMAX) | Unplanned Breakdown | Instrumentation and Control | Level control fault | Low water level alarm | 22:15 | 3:30 |  | 5.25 |  | 5.25 | Level probe cleaned and recalibrated; boiler restarted and load stabilised. | Probe cleaning kit, gasket set | Electrical & Instrumentation Section | Standby Unit Took Over | Closed | YES | RCA-001 | Steam supply maintained from Boiler 4 throughout. | 2026-08-31 | 2026-09-01 | 2026-09-02 | 2026-09-03 | 2026-09-04 | 2026-09-05 | 2026-09-06
DT-0002 | 2026-08-10 | Day Shift (7am - 7pm) | Chillers | TRANE Chiller 2 + Cooling Tower | Unplanned Breakdown | Mechanical | Coupling failure | Abnormal noise observed | 9:00 | 16:30 | 2026-08-13 | 79.5 |  | 79.5 | Compressor coupling replaced; alignment checked and unit recommissioned. | Coupling assembly (imported) | External Vendor | Partial / Reduced Output | Closed | YES |  | MULTI-DAY EXAMPLE: down 3 days awaiting the imported coupling. End Date in column L captures it. | 2026-09-07 | 2026-09-08 | 2026-09-09 | 2026-09-10 | 2026-09-11 | 2026-09-12 | 2026-09-13
[23 empty] | 2026-09-14 | 2026-09-15 | 2026-09-16 | 2026-09-17 | 2026-09-18 | 2026-09-19 | 2026-09-20
[23 empty] | 2026-09-21 | 2026-09-22 | 2026-09-23 | 2026-09-24 | 2026-09-25 | 2026-09-26 | 2026-09-27
[23 empty] | 2026-09-28 | 2026-09-29 | 2026-09-30 | 2026-10-01 | 2026-10-02 | 2026-10-03 | 2026-10-04
[23 empty] | 2026-10-05 | 2026-10-06 | 2026-10-07 | 2026-10-08 | 2026-10-09 | 2026-10-10 | 2026-10-11
Today
Without macros this is a read-off calendar. With the optional macro it becomes click-to-fill: click the Date cell, then click a day here.

## RCA Register
ROOT CAUSE ANALYSIS (RCA) REGISTER
One row per investigation — NOT one row per downtime event. Open an RCA whenever the Downtime Log flags 'RCA Required = YES'. Type the Event ID in column B and the grey columns fill themselves from the log. Work the 5 Whys across, then state the root cause and the two actions: what you did now, and what stops it coming back. Nothing closes until the Effectiveness Verification is done.
RCA ID | Linked Event ID | Date of Event | Equipment | Failure Category | Downtime (Hrs) | Repeat Count | Problem Statement (what, where, when, how much) | Why 1 — why did it happen? | Why 2 | Why 3 | Why 4 | Why 5 | Root Cause Category (6M) | ROOT CAUSE STATEMENT | Corrective Action (fix now) | Preventive Action (stop recurrence) | Action Type | CAPEX Required? | Estimated Cost (NGN) | Responsibility | Target Date | RCA Status | Effectiveness Verification | Date Verified | Recurred After Action?
RCA-001 | DT-0001 | 2026-08-04 | Boiler 3 (THERMAX) | Instrumentation and Control | 5.25 | 1 | Boiler 3 tripped on low water level at 22:15 on 04-Aug-2026, causing 5.25 hrs of steam unavailability. Third occurrence on this boiler in 90 days. | The boiler tripped because the low water level interlock activated. | The interlock activated because the level probe read a false low level. | The probe read false because of scale build-up on the probe tip. | Scale built up because feed water hardness exceeded the specification. | Feed water hardness was high because softener regeneration runs on a fixed time cycle rather than on throughput, and no hardness test is done before the boiler. | Method (procedure / practice) | Softener regeneration is scheduled by time instead of by volume throughput, and there is no routine feed water hardness check — so hard water reaches the boiler undetected. | Probe cleaned and recalibrated; softener regenerated manually; boiler returned to service. | Change softener regeneration from time-based to throughput-based; introduce a daily feed water hardness test with results logged; add level probe inspection to the weekly PM checklist. | Preventive Maintenance Revision | No |  | Utility Manager | 2026-09-30 | Action In Progress | Zero low-level trips on Boiler 3 for 90 consecutive days after the actions are implemented. |  | Not Yet Due
Formulas:
Date of Event = IFERROR(INDEX('Downtime Log'!$B4:B1003,MATCH([Linked Event ID],'Downtime Log'!$A4:A1003,0)),"")

## RCA Worksheet
ROOT CAUSE ANALYSIS WORKSHEET — print one per investigation
A blank thinking sheet for the investigation meeting. Fill it in with the team, then transfer the conclusions to the RCA Register.
1. EVENT DETAILS
RCA Ref. / Date raised
Linked Event ID
Equipment
Date & shift of event
Total downtime (hrs)
Team members present
2. PROBLEM STATEMENT — what happened, where, when, and how big was it?
3. THE 5 WHYS — keep asking until you reach something you can actually change
Why 1?
Why 2?
Why 3?
Why 4?
Why 5?
4. CONTRIBUTING FACTORS — tick or note anything that played a part (6M)
| [ ] Man — skill, manning, fatigue, handover |  |  | [ ] Method — procedure, PM schedule, practice
| [ ] Machine — condition, age, design, no redundancy |  |  | [ ] Measurement — instrument, calibration, no monitoring
| [ ] Material — spares, consumables, water/fuel quality |  |  | [ ] Environment — power supply, weather, vendor, ambient
5. ROOT CAUSE STATEMENT — one sentence, and it must be something you can control
6. ACTION PLAN
| Action | Type (fix now / prevent) | Responsibility | Target date | CAPEX?
7. VERIFICATION — how will we know it worked, and when do we check?
Verification method / measure
Check due on
Checked by / date
Result — effective?

## Equipment Analysis
EQUIPMENT-LEVEL DETAIL — all 72 assets, obeying the Dashboard control panel
The full asset-by-asset picture, including equipment with no events at all. The Dashboard shows only the top few; this sheet shows everything. Filter or read it as you like — it recalculates from the same control panel.
Equipment Category | Equipment | No. of Events | Total Downtime (Hrs) | MTTR (Hrs) | % of Total Downtime | Rank | Sort Key
Boilers | Boiler 1 (LOOS) | 0 | 0 |  | 0%
Boilers | Boiler 2 (SHELLMAX) | 0 | 0 |  | 0%
Boilers | Boiler 3 (THERMAX) | 1 | 5.25 | 5.25 | 6.195% | 2 | 5.25
Boilers | Boiler 4 (THERMAX) | 0 | 0 |  | 0%
Boilers | Boiler 5 (THERMAX) | 0 | 0 |  | 0%
Air Compressors | Air Compressor 2 - Oil (Ingersoll Rand) | 0 | 0 |  | 0%
Air Compressors | Air Compressor 3 - Oil-free (Ingersoll Rand) | 0 | 0 |  | 0%
Air Compressors | Air Compressor 4 - Oil-free (Ingersoll Rand) | 0 | 0 |  | 0%
Air Compressors | Air Compressor 5 - Oil-free (Ingersoll Rand) | 0 | 0 |  | 0%
Air Compressors | Air Compressor 6 - Oil-free (Ingersoll Rand) | 0 | 0 |  | 0%
Air Compressors | Air Compressor 7 - Oil-free (Ingersoll Rand) | 0 | 0 |  | 0%
Air Compressors | Air Compressor 8 - Oil-free (Ingersoll Rand) | 0 | 0 |  | 0%
Air Compressors | Air Compressor 9 - Oil-free (Ingersoll Rand) | 0 | 0 |  | 0%
Air Compressors | Air Compressor 11 - Oil (Ingersoll Rand) | 0 | 0 |  | 0%
Air Compressors | Air Compressor 12 - Oil (Ingersoll Rand) | 0 | 0 |  | 0%
Air Dryers | Air Dryer 1 | 0 | 0 |  | 0%
Air Dryers | Air Dryer 2 | 0 | 0 |  | 0%
Air Dryers | Air Dryer 3 | 0 | 0 |  | 0%
Air Dryers | Air Dryer 4 | 0 | 0 |  | 0%
Air Dryers | Air Dryer 5 | 0 | 0 |  | 0%
Air Dryers | Air Dryer 6 | 0 | 0 |  | 0%
Air Dryers | Air Dryer 7 | 0 | 0 |  | 0%
Air Dryers | Air Dryer 8 | 0 | 0 |  | 0%
Air Dryers | Air Dryer 9 | 0 | 0 |  | 0%
Air Dryers | Air Dryer 10 | 0 | 0 |  | 0%
Degassers | Degasser 1 | 0 | 0 |  | 0%
Degassers | Degasser 2 | 0 | 0 |  | 0%
Degassers | Degasser 3 | 0 | 0 |  | 0%
Chillers | TRANE Chiller 1 + Cooling Tower | 0 | 0 |  | 0%
Chillers | TRANE Chiller 2 + Cooling Tower | 1 | 79.5 | 79.5 | 93.81% | 1 | 79.5
Chillers | TRANE Chiller 3 + Cooling Tower | 0 | 0 |  | 0%
Chillers | TRANE Chiller 4 + Cooling Tower | 0 | 0 |  | 0%
Chillers | TRANE Chiller 5 + Cooling Tower | 0 | 0 |  | 0%
Chillers | VAM Chiller 1 + Cooling Tower | 0 | 0 |  | 0%
Chillers | VAM Chiller 2 + Cooling Tower | 0 | 0 |  | 0%
Chillers | VAM Chiller 3 + Cooling Tower | 0 | 0 |  | 0%
Chillers | VAM Chiller 4 + Cooling Tower | 0 | 0 |  | 0%
Jet Pumps | Jet Pumps (Expansion) | 0 | 0 |  | 0%
Jet Pumps | Jet Pumps (New Building) | 0 | 0 |  | 0%
Jet Pumps | Jet Pumps (Old Building 1) | 0 | 0 |  | 0%
Jet Pumps | Jet Pumps (Old Building 2) | 0 | 0 |  | 0%
Jet Pumps | Jet Pumps (Debottleneck) | 0 | 0 |  | 0%
Boreholes | Borehole 1 | 0 | 0 |  | 0%
Boreholes | Borehole 2 | 0 | 0 |  | 0%
Boreholes | Borehole 3 | 0 | 0 |  | 0%
Boreholes | Borehole 4 | 0 | 0 |  | 0%
Boreholes | Borehole 5 | 0 | 0 |  | 0%
Boreholes | Borehole 6 | 0 | 0 |  | 0%
Boreholes | Borehole 7 | 0 | 0 |  | 0%
UV Systems | UV-1 | 0 | 0 |  | 0%
UV Systems | UV-2 | 0 | 0 |  | 0%
UV Systems | UV-3 | 0 | 0 |  | 0%
UV Systems | UV-4 | 0 | 0 |  | 0%
Filtration | Pressure Filter Tank 1 | 0 | 0 |  | 0%
Filtration | Pressure Filter Tank 2 | 0 | 0 |  | 0%
Filtration | Pressure Filter Tank 3 | 0 | 0 |  | 0%
Filtration | Pressure Filter Tank 4 | 0 | 0 |  | 0%
Filtration | Pressure Filter Tank 5 | 0 | 0 |  | 0%
Filtration | Pre-Filter Bag | 0 | 0 |  | 0%
Filtration | Post-Filter Bag | 0 | 0 |  | 0%
Pumps | Raw Water Pumps | 0 | 0 |  | 0%
Pumps | Treated Water Pumps | 0 | 0 |  | 0%
Pumps | Chilled Water Inlet Pumps | 0 | 0 |  | 0%
Pumps | Chilled Water Outlet Pumps | 0 | 0 |  | 0%
Water Treatment | RO Plant | 0 | 0 |  | 0%
Storage Tanks | Utility Tanks (Raw Water, Treated Water, Chilled Water, Boiler Feed Water, RO Water) | 0 | 0 |  | 0%
Storage Tanks | Air Receiver Tanks | 0 | 0 |  | 0%
Distribution Systems | Steam Distribution | 0 | 0 |  | 0%
Distribution Systems | Treated Water Distribution | 0 | 0 |  | 0%
Distribution Systems | Chilled Water Distribution | 0 | 0 |  | 0%
Distribution Systems | Steam Condensate Collection | 0 | 0 |  | 0%
Distribution Systems | Compressed Air Distribution | 0 | 0 |  | 0%
TOTAL | All Utility Equipment | 2 | 84.75 | 42.38 | 100%

## Analysis Engine
ANALYSIS ENGINE — calculated automatically. You never need to type here.
Everything on this sheet reacts to the control panel at the top of the Dashboard. Block 1 re-computes itself against whichever dimension you chose to analyse by; Block 2 rebuilds the time periods when you switch between day, week, month, quarter and year; Block 3 finds assets failing the same way repeatedly.
FILTER CRITERIA (blank filter = wildcard = everything)
Equipment Category | *
Equipment | *
Failure Category | *
Downtime Type | *
Shift | *
Status | *
BLOCK 1 — MEMBERS OF THE CHOSEN DIMENSION | [5 empty] | BLOCK 2 — TREND PERIODS
Member | Events | Downtime (Hrs) | MTTR (Hrs) | Sort Key |  | # | Period Start | Period End | Label | Events | Downtime (Hrs) | Sort Key
Boiler 1 (LOOS) | 0 | 0 |  |  |  | 1 | 2026-01-01 | 2026-01-31 | Jan 2026 | 0 | 0 | 1.4e-05
Boiler 2 (SHELLMAX) | 0 | 0 |  |  |  | 2 | 2026-02-01 | 2026-02-28 | Feb 2026 | 0 | 0 | 1.5e-05
Boiler 3 (THERMAX) | 1 | 5.25 | 5.25 | 5.25 |  | 3 | 2026-03-01 | 2026-03-31 | Mar 2026 | 0 | 0 | 1.6e-05
Boiler 4 (THERMAX) | 0 | 0 |  |  |  | 4 | 2026-04-01 | 2026-04-30 | Apr 2026 | 0 | 0 | 1.7e-05
Boiler 5 (THERMAX) | 0 | 0 |  |  |  | 5 | 2026-05-01 | 2026-05-31 | May 2026 | 0 | 0 | 1.8e-05
Air Compressor 2 - Oil (Ingersoll Rand) | 0 | 0 |  |  |  | 6 | 2026-06-01 | 2026-06-30 | Jun 2026 | 0 | 0 | 1.9e-05
Air Compressor 3 - Oil-free (Ingersoll Rand) | 0 | 0 |  |  |  | 7 | 2026-07-01 | 2026-07-31 | Jul 2026 | 0 | 0 | 2e-05
Air Compressor 4 - Oil-free (Ingersoll Rand) | 0 | 0 |  |  |  | 8 | 2026-08-01 | 2026-08-31 | Aug 2026 | 2 | 84.75 | 84.75
Air Compressor 5 - Oil-free (Ingersoll Rand) | 0 | 0 |  |  |  | 9 | 2026-09-01 | 2026-09-30 | Sept 2026 | 0 | 0 | 2.2e-05
Air Compressor 6 - Oil-free (Ingersoll Rand) | 0 | 0 |  |  |  | 10 | 2026-10-01 | 2026-10-31 | Oct 2026 | 0 | 0 | 2.3e-05
Air Compressor 7 - Oil-free (Ingersoll Rand) | 0 | 0 |  |  |  | 11 | 2026-11-01 | 2026-11-30 | Nov 2026 | 0 | 0 | 2.4e-05
Air Compressor 8 - Oil-free (Ingersoll Rand) | 0 | 0 |  |  |  | 12 | 2026-12-01 | 2026-12-31 | Dec 2026 | 0 | 0 | 2.5e-05
Air Compressor 9 - Oil-free (Ingersoll Rand) | 0 | 0 |  |  |  | 13 | 2027-01-01 | 2027-01-31
Air Compressor 11 - Oil (Ingersoll Rand) | 0 | 0 |  |  |  | 14 | 2027-02-01 | 2027-02-28
Air Compressor 12 - Oil (Ingersoll Rand) | 0 | 0 |  |  |  | 15 | 2027-03-01 | 2027-03-31
Air Dryer 1 | 0 | 0 |  |  |  | 16 | 2027-04-01 | 2027-04-30
Air Dryer 2 | 0 | 0 |  |  |  | 17 | 2027-05-01 | 2027-05-31
Air Dryer 3 | 0 | 0 |  |  |  | 18 | 2027-06-01 | 2027-06-30
Air Dryer 4 | 0 | 0 |  |  |  | 19 | 2027-07-01 | 2027-07-31
Air Dryer 5 | 0 | 0 |  |  |  | 20 | 2027-08-01 | 2027-08-31
Air Dryer 6 | 0 | 0 |  |  |  | 21 | 2027-09-01 | 2027-09-30
Air Dryer 7 | 0 | 0 |  |  |  | 22 | 2027-10-01 | 2027-10-31
Air Dryer 8 | 0 | 0 |  |  |  | 23 | 2027-11-01 | 2027-11-30
Air Dryer 9 | 0 | 0 |  |  |  | 24 | 2027-12-01 | 2027-12-31
Air Dryer 10 | 0 | 0 |  |  |  | 25 | 2028-01-01 | 2028-01-31
Degasser 1 | 0 | 0 |  |  |  | 26 | 2028-02-01 | 2028-02-29
Degasser 2 | 0 | 0 |  |  |  | 27 | 2028-03-01 | 2028-03-31
Degasser 3 | 0 | 0 |  |  |  | 28 | 2028-04-01 | 2028-04-30
TRANE Chiller 1 + Cooling Tower | 0 | 0 |  |  |  | 29 | 2028-05-01 | 2028-05-31
TRANE Chiller 2 + Cooling Tower | 1 | 79.5 | 79.5 | 79.5 |  | 30 | 2028-06-01 | 2028-06-30
TRANE Chiller 3 + Cooling Tower | 0 | 0 |  |  |  | 31 | 2028-07-01 | 2028-07-31
TRANE Chiller 4 + Cooling Tower | 0 | 0 |  |  |  | 32 | 2028-08-01 | 2028-08-31
TRANE Chiller 5 + Cooling Tower | 0 | 0 |  |  |  | 33 | 2028-09-01 | 2028-09-30
VAM Chiller 1 + Cooling Tower | 0 | 0 |  |  |  | 34 | 2028-10-01 | 2028-10-31
VAM Chiller 2 + Cooling Tower | 0 | 0 |  |  |  | 35 | 2028-11-01 | 2028-11-30
VAM Chiller 3 + Cooling Tower | 0 | 0 |  |  |  | 36 | 2028-12-01 | 2028-12-31
VAM Chiller 4 + Cooling Tower | 0 | 0 |  |  |  | 37 | 2029-01-01 | 2029-01-31
Jet Pumps (Expansion) | 0 | 0 |  |  |  | 38 | 2029-02-01 | 2029-02-28
Jet Pumps (New Building) | 0 | 0 |  |  |  | 39 | 2029-03-01 | 2029-03-31
Jet Pumps (Old Building 1) | 0 | 0 |  |  |  | 40 | 2029-04-01 | 2029-04-30
Jet Pumps (Old Building 2) | 0 | 0 |  |  |  | 41 | 2029-05-01 | 2029-05-31
Jet Pumps (Debottleneck) | 0 | 0 |  |  |  | 42 | 2029-06-01 | 2029-06-30
Borehole 1 | 0 | 0 |  |  |  | 43 | 2029-07-01 | 2029-07-31
Borehole 2 | 0 | 0 |  |  |  | 44 | 2029-08-01 | 2029-08-31
Borehole 3 | 0 | 0 |  |  |  | 45 | 2029-09-01 | 2029-09-30
Borehole 4 | 0 | 0 |  |  |  | 46 | 2029-10-01 | 2029-10-31
Borehole 5 | 0 | 0 |  |  |  | 47 | 2029-11-01 | 2029-11-30
Borehole 6 | 0 | 0 |  |  |  | 48 | 2029-12-01 | 2029-12-31
Borehole 7 | 0 | 0 |  |  |  | 49 | 2030-01-01 | 2030-01-31
UV-1 | 0 | 0 |  |  |  | 50 | 2030-02-01 | 2030-02-28
UV-2 | 0 | 0 |  |  |  | 51 | 2030-03-01 | 2030-03-31
UV-3 | 0 | 0 |  |  |  | 52 | 2030-04-01 | 2030-04-30
UV-4 | 0 | 0 |  |  |  | 53 | 2030-05-01 | 2030-05-31
Pressure Filter Tank 1 | 0 | 0 |  |  |  | 54 | 2030-06-01 | 2030-06-30
Pressure Filter Tank 2 | 0 | 0 |  |  |  | 55 | 2030-07-01 | 2030-07-31
Pressure Filter Tank 3 | 0 | 0 |  |  |  | 56 | 2030-08-01 | 2030-08-31
Pressure Filter Tank 4 | 0 | 0 |  |  |  | 57 | 2030-09-01 | 2030-09-30
Pressure Filter Tank 5 | 0 | 0 |  |  |  | 58 | 2030-10-01 | 2030-10-31
Pre-Filter Bag | 0 | 0 |  |  |  | 59 | 2030-11-01 | 2030-11-30
Post-Filter Bag | 0 | 0 |  |  |  | 60 | 2030-12-01 | 2030-12-31
Raw Water Pumps | 0 | 0
Treated Water Pumps | 0 | 0
Chilled Water Inlet Pumps | 0 | 0
Chilled Water Outlet Pumps | 0 | 0
RO Plant | 0 | 0
Utility Tanks (Raw Water, Treated Water, Chilled Water, Boiler Feed Water, RO Water) | 0 | 0
Air Receiver Tanks | 0 | 0
Steam Distribution | 0 | 0
Treated Water Distribution | 0 | 0
Chilled Water Distribution | 0 | 0
Steam Condensate Collection | 0 | 0
Compressed Air Distribution | 0 | 0
BLOCK 3 — EQUIPMENT x FAILURE CATEGORY (chronic failure detection)
Equipment | Failure Category | Events | Downtime (Hrs) | Chronic? | Sort Key
Boiler 1 (LOOS) | Mechanical | 0 | 0
Boiler 1 (LOOS) | Electrical | 0 | 0
Boiler 1 (LOOS) | Instrumentation and Control | 0 | 0
Boiler 1 (LOOS) | Process and Utility | 0 | 0
Boiler 1 (LOOS) | Operational | 0 | 0
Boiler 1 (LOOS) | Maintenance and Spares | 0 | 0
Boiler 1 (LOOS) | Planned Maintenance | 0 | 0
Boiler 1 (LOOS) | External Factors | 0 | 0
Boiler 2 (SHELLMAX) | Mechanical | 0 | 0
Boiler 2 (SHELLMAX) | Electrical | 0 | 0
Boiler 2 (SHELLMAX) | Instrumentation and Control | 0 | 0
Boiler 2 (SHELLMAX) | Process and Utility | 0 | 0
Boiler 2 (SHELLMAX) | Operational | 0 | 0
Boiler 2 (SHELLMAX) | Maintenance and Spares | 0 | 0
Boiler 2 (SHELLMAX) | Planned Maintenance | 0 | 0
Boiler 2 (SHELLMAX) | External Factors | 0 | 0
Boiler 3 (THERMAX) | Mechanical | 0 | 0
Boiler 3 (THERMAX) | Electrical | 0 | 0
Boiler 3 (THERMAX) | Instrumentation and Control | 1 | 5.25
Boiler 3 (THERMAX) | Process and Utility | 0 | 0
Boiler 3 (THERMAX) | Operational | 0 | 0
Boiler 3 (THERMAX) | Maintenance and Spares | 0 | 0
Boiler 3 (THERMAX) | Planned Maintenance | 0 | 0
Boiler 3 (THERMAX) | External Factors | 0 | 0
Boiler 4 (THERMAX) | Mechanical | 0 | 0
Boiler 4 (THERMAX) | Electrical | 0 | 0
Boiler 4 (THERMAX) | Instrumentation and Control | 0 | 0
Boiler 4 (THERMAX) | Process and Utility | 0 | 0
Boiler 4 (THERMAX) | Operational | 0 | 0
Boiler 4 (THERMAX) | Maintenance and Spares | 0 | 0
Boiler 4 (THERMAX) | Planned Maintenance | 0 | 0
Boiler 4 (THERMAX) | External Factors | 0 | 0
Boiler 5 (THERMAX) | Mechanical | 0 | 0
Boiler 5 (THERMAX) | Electrical | 0 | 0
Boiler 5 (THERMAX) | Instrumentation and Control | 0 | 0
Boiler 5 (THERMAX) | Process and Utility | 0 | 0
Boiler 5 (THERMAX) | Operational | 0 | 0
Boiler 5 (THERMAX) | Maintenance and Spares | 0 | 0
Boiler 5 (THERMAX) | Planned Maintenance | 0 | 0
Boiler 5 (THERMAX) | External Factors | 0 | 0
Air Compressor 2 - Oil (Ingersoll Rand) | Mechanical | 0 | 0
Air Compressor 2 - Oil (Ingersoll Rand) | Electrical | 0 | 0
Air Compressor 2 - Oil (Ingersoll Rand) | Instrumentation and Control | 0 | 0
Air Compressor 2 - Oil (Ingersoll Rand) | Process and Utility | 0 | 0
Air Compressor 2 - Oil (Ingersoll Rand) | Operational | 0 | 0
Air Compressor 2 - Oil (Ingersoll Rand) | Maintenance and Spares | 0 | 0
Air Compressor 2 - Oil (Ingersoll Rand) | Planned Maintenance | 0 | 0
Air Compressor 2 - Oil (Ingersoll Rand) | External Factors | 0 | 0
Air Compressor 3 - Oil-free (Ingersoll Rand) | Mechanical | 0 | 0
Air Compressor 3 - Oil-free (Ingersoll Rand) | Electrical | 0 | 0
Air Compressor 3 - Oil-free (Ingersoll Rand) | Instrumentation and Control | 0 | 0
Air Compressor 3 - Oil-free (Ingersoll Rand) | Process and Utility | 0 | 0
Air Compressor 3 - Oil-free (Ingersoll Rand) | Operational | 0 | 0
Air Compressor 3 - Oil-free (Ingersoll Rand) | Maintenance and Spares | 0 | 0
Air Compressor 3 - Oil-free (Ingersoll Rand) | Planned Maintenance | 0 | 0
Air Compressor 3 - Oil-free (Ingersoll Rand) | External Factors | 0 | 0
Air Compressor 4 - Oil-free (Ingersoll Rand) | Mechanical | 0 | 0
Air Compressor 4 - Oil-free (Ingersoll Rand) | Electrical | 0 | 0
Air Compressor 4 - Oil-free (Ingersoll Rand) | Instrumentation and Control | 0 | 0
Air Compressor 4 - Oil-free (Ingersoll Rand) | Process and Utility | 0 | 0
Air Compressor 4 - Oil-free (Ingersoll Rand) | Operational | 0 | 0
Air Compressor 4 - Oil-free (Ingersoll Rand) | Maintenance and Spares | 0 | 0
Air Compressor 4 - Oil-free (Ingersoll Rand) | Planned Maintenance | 0 | 0
Air Compressor 4 - Oil-free (Ingersoll Rand) | External Factors | 0 | 0
Air Compressor 5 - Oil-free (Ingersoll Rand) | Mechanical | 0 | 0
Air Compressor 5 - Oil-free (Ingersoll Rand) | Electrical | 0 | 0
Air Compressor 5 - Oil-free (Ingersoll Rand) | Instrumentation and Control | 0 | 0
Air Compressor 5 - Oil-free (Ingersoll Rand) | Process and Utility | 0 | 0
Air Compressor 5 - Oil-free (Ingersoll Rand) | Operational | 0 | 0
Air Compressor 5 - Oil-free (Ingersoll Rand) | Maintenance and Spares | 0 | 0
Air Compressor 5 - Oil-free (Ingersoll Rand) | Planned Maintenance | 0 | 0
Air Compressor 5 - Oil-free (Ingersoll Rand) | External Factors | 0 | 0
Air Compressor 6 - Oil-free (Ingersoll Rand) | Mechanical | 0 | 0
Air Compressor 6 - Oil-free (Ingersoll Rand) | Electrical | 0 | 0
Air Compressor 6 - Oil-free (Ingersoll Rand) | Instrumentation and Control | 0 | 0
Air Compressor 6 - Oil-free (Ingersoll Rand) | Process and Utility | 0 | 0
Air Compressor 6 - Oil-free (Ingersoll Rand) | Operational | 0 | 0
Air Compressor 6 - Oil-free (Ingersoll Rand) | Maintenance and Spares | 0 | 0
Air Compressor 6 - Oil-free (Ingersoll Rand) | Planned Maintenance | 0 | 0
Air Compressor 6 - Oil-free (Ingersoll Rand) | External Factors | 0 | 0
Air Compressor 7 - Oil-free (Ingersoll Rand) | Mechanical | 0 | 0
Air Compressor 7 - Oil-free (Ingersoll Rand) | Electrical | 0 | 0
Air Compressor 7 - Oil-free (Ingersoll Rand) | Instrumentation and Control | 0 | 0
Air Compressor 7 - Oil-free (Ingersoll Rand) | Process and Utility | 0 | 0
Air Compressor 7 - Oil-free (Ingersoll Rand) | Operational | 0 | 0
Air Compressor 7 - Oil-free (Ingersoll Rand) | Maintenance and Spares | 0 | 0
Air Compressor 7 - Oil-free (Ingersoll Rand) | Planned Maintenance | 0 | 0
Air Compressor 7 - Oil-free (Ingersoll Rand) | External Factors | 0 | 0
Air Compressor 8 - Oil-free (Ingersoll Rand) | Mechanical | 0 | 0
Air Compressor 8 - Oil-free (Ingersoll Rand) | Electrical | 0 | 0
Air Compressor 8 - Oil-free (Ingersoll Rand) | Instrumentation and Control | 0 | 0
Air Compressor 8 - Oil-free (Ingersoll Rand) | Process and Utility | 0 | 0
Air Compressor 8 - Oil-free (Ingersoll Rand) | Operational | 0 | 0
Air Compressor 8 - Oil-free (Ingersoll Rand) | Maintenance and Spares | 0 | 0
Air Compressor 8 - Oil-free (Ingersoll Rand) | Planned Maintenance | 0 | 0
Air Compressor 8 - Oil-free (Ingersoll Rand) | External Factors | 0 | 0
Air Compressor 9 - Oil-free (Ingersoll Rand) | Mechanical | 0 | 0
Air Compressor 9 - Oil-free (Ingersoll Rand) | Electrical | 0 | 0
Air Compressor 9 - Oil-free (Ingersoll Rand) | Instrumentation and Control | 0 | 0
Air Compressor 9 - Oil-free (Ingersoll Rand) | Process and Utility | 0 | 0
Air Compressor 9 - Oil-free (Ingersoll Rand) | Operational | 0 | 0
Air Compressor 9 - Oil-free (Ingersoll Rand) | Maintenance and Spares | 0 | 0
Air Compressor 9 - Oil-free (Ingersoll Rand) | Planned Maintenance | 0 | 0
Air Compressor 9 - Oil-free (Ingersoll Rand) | External Factors | 0 | 0
Air Compressor 11 - Oil (Ingersoll Rand) | Mechanical | 0 | 0
Air Compressor 11 - Oil (Ingersoll Rand) | Electrical | 0 | 0
Air Compressor 11 - Oil (Ingersoll Rand) | Instrumentation and Control | 0 | 0
Air Compressor 11 - Oil (Ingersoll Rand) | Process and Utility | 0 | 0
Air Compressor 11 - Oil (Ingersoll Rand) | Operational | 0 | 0
Air Compressor 11 - Oil (Ingersoll Rand) | Maintenance and Spares | 0 | 0
Air Compressor 11 - Oil (Ingersoll Rand) | Planned Maintenance | 0 | 0
Air Compressor 11 - Oil (Ingersoll Rand) | External Factors | 0 | 0
Air Compressor 12 - Oil (Ingersoll Rand) | Mechanical | 0 | 0
Air Compressor 12 - Oil (Ingersoll Rand) | Electrical | 0 | 0
Air Compressor 12 - Oil (Ingersoll Rand) | Instrumentation and Control | 0 | 0
Air Compressor 12 - Oil (Ingersoll Rand) | Process and Utility | 0 | 0
Air Compressor 12 - Oil (Ingersoll Rand) | Operational | 0 | 0
Air Compressor 12 - Oil (Ingersoll Rand) | Maintenance and Spares | 0 | 0
Air Compressor 12 - Oil (Ingersoll Rand) | Planned Maintenance | 0 | 0
Air Compressor 12 - Oil (Ingersoll Rand) | External Factors | 0 | 0
Air Dryer 1 | Mechanical | 0 | 0
Air Dryer 1 | Electrical | 0 | 0
Air Dryer 1 | Instrumentation and Control | 0 | 0
Air Dryer 1 | Process and Utility | 0 | 0
Air Dryer 1 | Operational | 0 | 0
Air Dryer 1 | Maintenance and Spares | 0 | 0
Air Dryer 1 | Planned Maintenance | 0 | 0
Air Dryer 1 | External Factors | 0 | 0
Air Dryer 2 | Mechanical | 0 | 0
Air Dryer 2 | Electrical | 0 | 0
Air Dryer 2 | Instrumentation and Control | 0 | 0
Air Dryer 2 | Process and Utility | 0 | 0
Air Dryer 2 | Operational | 0 | 0
Air Dryer 2 | Maintenance and Spares | 0 | 0
Air Dryer 2 | Planned Maintenance | 0 | 0
Air Dryer 2 | External Factors | 0 | 0
Air Dryer 3 | Mechanical | 0 | 0
Air Dryer 3 | Electrical | 0 | 0
Air Dryer 3 | Instrumentation and Control | 0 | 0
Air Dryer 3 | Process and Utility | 0 | 0
Air Dryer 3 | Operational | 0 | 0
Air Dryer 3 | Maintenance and Spares | 0 | 0
Air Dryer 3 | Planned Maintenance | 0 | 0
Air Dryer 3 | External Factors | 0 | 0
Air Dryer 4 | Mechanical | 0 | 0
Air Dryer 4 | Electrical | 0 | 0
Air Dryer 4 | Instrumentation and Control | 0 | 0
Air Dryer 4 | Process and Utility | 0 | 0
Air Dryer 4 | Operational | 0 | 0
Air Dryer 4 | Maintenance and Spares | 0 | 0
Air Dryer 4 | Planned Maintenance | 0 | 0
Air Dryer 4 | External Factors | 0 | 0
Air Dryer 5 | Mechanical | 0 | 0
Air Dryer 5 | Electrical | 0 | 0
Air Dryer 5 | Instrumentation and Control | 0 | 0
Air Dryer 5 | Process and Utility | 0 | 0
Air Dryer 5 | Operational | 0 | 0
Air Dryer 5 | Maintenance and Spares | 0 | 0
Air Dryer 5 | Planned Maintenance | 0 | 0
Air Dryer 5 | External Factors | 0 | 0
Air Dryer 6 | Mechanical | 0 | 0
Air Dryer 6 | Electrical | 0 | 0
Air Dryer 6 | Instrumentation and Control | 0 | 0
Air Dryer 6 | Process and Utility | 0 | 0
Air Dryer 6 | Operational | 0 | 0
Air Dryer 6 | Maintenance and Spares | 0 | 0
Air Dryer 6 | Planned Maintenance | 0 | 0
Air Dryer 6 | External Factors | 0 | 0
Air Dryer 7 | Mechanical | 0 | 0
Air Dryer 7 | Electrical | 0 | 0
Air Dryer 7 | Instrumentation and Control | 0 | 0
Air Dryer 7 | Process and Utility | 0 | 0
Air Dryer 7 | Operational | 0 | 0
Air Dryer 7 | Maintenance and Spares | 0 | 0
Air Dryer 7 | Planned Maintenance | 0 | 0
Air Dryer 7 | External Factors | 0 | 0
Air Dryer 8 | Mechanical | 0 | 0
Air Dryer 8 | Electrical | 0 | 0
Air Dryer 8 | Instrumentation and Control | 0 | 0
Air Dryer 8 | Process and Utility | 0 | 0
Air Dryer 8 | Operational | 0 | 0
Air Dryer 8 | Maintenance and Spares | 0 | 0
Air Dryer 8 | Planned Maintenance | 0 | 0
Air Dryer 8 | External Factors | 0 | 0
Air Dryer 9 | Mechanical | 0 | 0
Air Dryer 9 | Electrical | 0 | 0
Air Dryer 9 | Instrumentation and Control | 0 | 0
Air Dryer 9 | Process and Utility | 0 | 0
Air Dryer 9 | Operational | 0 | 0
Air Dryer 9 | Maintenance and Spares | 0 | 0
Air Dryer 9 | Planned Maintenance | 0 | 0
Air Dryer 9 | External Factors | 0 | 0
Air Dryer 10 | Mechanical | 0 | 0
Air Dryer 10 | Electrical | 0 | 0
Air Dryer 10 | Instrumentation and Control | 0 | 0
Air Dryer 10 | Process and Utility | 0 | 0
Air Dryer 10 | Operational | 0 | 0
Air Dryer 10 | Maintenance and Spares | 0 | 0
Air Dryer 10 | Planned Maintenance | 0 | 0
Air Dryer 10 | External Factors | 0 | 0
Degasser 1 | Mechanical | 0 | 0
Degasser 1 | Electrical | 0 | 0
Degasser 1 | Instrumentation and Control | 0 | 0
Degasser 1 | Process and Utility | 0 | 0
Degasser 1 | Operational | 0 | 0
Degasser 1 | Maintenance and Spares | 0 | 0
Degasser 1 | Planned Maintenance | 0 | 0
Degasser 1 | External Factors | 0 | 0
Degasser 2 | Mechanical | 0 | 0
Degasser 2 | Electrical | 0 | 0
Degasser 2 | Instrumentation and Control | 0 | 0
Degasser 2 | Process and Utility | 0 | 0
Degasser 2 | Operational | 0 | 0
Degasser 2 | Maintenance and Spares | 0 | 0
Degasser 2 | Planned Maintenance | 0 | 0
Degasser 2 | External Factors | 0 | 0
Degasser 3 | Mechanical | 0 | 0
Degasser 3 | Electrical | 0 | 0
Degasser 3 | Instrumentation and Control | 0 | 0
Degasser 3 | Process and Utility | 0 | 0
Degasser 3 | Operational | 0 | 0
Degasser 3 | Maintenance and Spares | 0 | 0
Degasser 3 | Planned Maintenance | 0 | 0
Degasser 3 | External Factors | 0 | 0
TRANE Chiller 1 + Cooling Tower | Mechanical | 0 | 0
TRANE Chiller 1 + Cooling Tower | Electrical | 0 | 0
TRANE Chiller 1 + Cooling Tower | Instrumentation and Control | 0 | 0
TRANE Chiller 1 + Cooling Tower | Process and Utility | 0 | 0
TRANE Chiller 1 + Cooling Tower | Operational | 0 | 0
TRANE Chiller 1 + Cooling Tower | Maintenance and Spares | 0 | 0
TRANE Chiller 1 + Cooling Tower | Planned Maintenance | 0 | 0
TRANE Chiller 1 + Cooling Tower | External Factors | 0 | 0
TRANE Chiller 2 + Cooling Tower | Mechanical | 1 | 79.5
TRANE Chiller 2 + Cooling Tower | Electrical | 0 | 0
TRANE Chiller 2 + Cooling Tower | Instrumentation and Control | 0 | 0
TRANE Chiller 2 + Cooling Tower | Process and Utility | 0 | 0
TRANE Chiller 2 + Cooling Tower | Operational | 0 | 0
TRANE Chiller 2 + Cooling Tower | Maintenance and Spares | 0 | 0
TRANE Chiller 2 + Cooling Tower | Planned Maintenance | 0 | 0
TRANE Chiller 2 + Cooling Tower | External Factors | 0 | 0
TRANE Chiller 3 + Cooling Tower | Mechanical | 0 | 0
TRANE Chiller 3 + Cooling Tower | Electrical | 0 | 0
TRANE Chiller 3 + Cooling Tower | Instrumentation and Control | 0 | 0
TRANE Chiller 3 + Cooling Tower | Process and Utility | 0 | 0
TRANE Chiller 3 + Cooling Tower | Operational | 0 | 0
TRANE Chiller 3 + Cooling Tower | Maintenance and Spares | 0 | 0
TRANE Chiller 3 + Cooling Tower | Planned Maintenance | 0 | 0
TRANE Chiller 3 + Cooling Tower | External Factors | 0 | 0
TRANE Chiller 4 + Cooling Tower | Mechanical | 0 | 0
TRANE Chiller 4 + Cooling Tower | Electrical | 0 | 0
TRANE Chiller 4 + Cooling Tower | Instrumentation and Control | 0 | 0
TRANE Chiller 4 + Cooling Tower | Process and Utility | 0 | 0
TRANE Chiller 4 + Cooling Tower | Operational | 0 | 0
TRANE Chiller 4 + Cooling Tower | Maintenance and Spares | 0 | 0
TRANE Chiller 4 + Cooling Tower | Planned Maintenance | 0 | 0
TRANE Chiller 4 + Cooling Tower | External Factors | 0 | 0
TRANE Chiller 5 + Cooling Tower | Mechanical | 0 | 0
TRANE Chiller 5 + Cooling Tower | Electrical | 0 | 0
TRANE Chiller 5 + Cooling Tower | Instrumentation and Control | 0 | 0
TRANE Chiller 5 + Cooling Tower | Process and Utility | 0 | 0
TRANE Chiller 5 + Cooling Tower | Operational | 0 | 0
TRANE Chiller 5 + Cooling Tower | Maintenance and Spares | 0 | 0
TRANE Chiller 5 + Cooling Tower | Planned Maintenance | 0 | 0
TRANE Chiller 5 + Cooling Tower | External Factors | 0 | 0
VAM Chiller 1 + Cooling Tower | Mechanical | 0 | 0
VAM Chiller 1 + Cooling Tower | Electrical | 0 | 0
VAM Chiller 1 + Cooling Tower | Instrumentation and Control | 0 | 0
VAM Chiller 1 + Cooling Tower | Process and Utility | 0 | 0
VAM Chiller 1 + Cooling Tower | Operational | 0 | 0
VAM Chiller 1 + Cooling Tower | Maintenance and Spares | 0 | 0
VAM Chiller 1 + Cooling Tower | Planned Maintenance | 0 | 0
VAM Chiller 1 + Cooling Tower | External Factors | 0 | 0
VAM Chiller 2 + Cooling Tower | Mechanical | 0 | 0
VAM Chiller 2 + Cooling Tower | Electrical | 0 | 0
VAM Chiller 2 + Cooling Tower | Instrumentation and Control | 0 | 0
VAM Chiller 2 + Cooling Tower | Process and Utility | 0 | 0
VAM Chiller 2 + Cooling Tower | Operational | 0 | 0
VAM Chiller 2 + Cooling Tower | Maintenance and Spares | 0 | 0
VAM Chiller 2 + Cooling Tower | Planned Maintenance | 0 | 0
VAM Chiller 2 + Cooling Tower | External Factors | 0 | 0
VAM Chiller 3 + Cooling Tower | Mechanical | 0 | 0
VAM Chiller 3 + Cooling Tower | Electrical | 0 | 0
VAM Chiller 3 + Cooling Tower | Instrumentation and Control | 0 | 0
VAM Chiller 3 + Cooling Tower | Process and Utility | 0 | 0
VAM Chiller 3 + Cooling Tower | Operational | 0 | 0
VAM Chiller 3 + Cooling Tower | Maintenance and Spares | 0 | 0
VAM Chiller 3 + Cooling Tower | Planned Maintenance | 0 | 0
VAM Chiller 3 + Cooling Tower | External Factors | 0 | 0
VAM Chiller 4 + Cooling Tower | Mechanical | 0 | 0
VAM Chiller 4 + Cooling Tower | Electrical | 0 | 0
VAM Chiller 4 + Cooling Tower | Instrumentation and Control | 0 | 0
VAM Chiller 4 + Cooling Tower | Process and Utility | 0 | 0
VAM Chiller 4 + Cooling Tower | Operational | 0 | 0
VAM Chiller 4 + Cooling Tower | Maintenance and Spares | 0 | 0
VAM Chiller 4 + Cooling Tower | Planned Maintenance | 0 | 0
VAM Chiller 4 + Cooling Tower | External Factors | 0 | 0
Jet Pumps (Expansion) | Mechanical | 0 | 0
Jet Pumps (Expansion) | Electrical | 0 | 0
Jet Pumps (Expansion) | Instrumentation and Control | 0 | 0
Jet Pumps (Expansion) | Process and Utility | 0 | 0
Jet Pumps (Expansion) | Operational | 0 | 0
Jet Pumps (Expansion) | Maintenance and Spares | 0 | 0
Jet Pumps (Expansion) | Planned Maintenance | 0 | 0
Jet Pumps (Expansion) | External Factors | 0 | 0
Jet Pumps (New Building) | Mechanical | 0 | 0
Jet Pumps (New Building) | Electrical | 0 | 0
Jet Pumps (New Building) | Instrumentation and Control | 0 | 0
Jet Pumps (New Building) | Process and Utility | 0 | 0
Jet Pumps (New Building) | Operational | 0 | 0
Jet Pumps (New Building) | Maintenance and Spares | 0 | 0
Jet Pumps (New Building) | Planned Maintenance | 0 | 0
Jet Pumps (New Building) | External Factors | 0 | 0
Jet Pumps (Old Building 1) | Mechanical | 0 | 0
Jet Pumps (Old Building 1) | Electrical | 0 | 0
Jet Pumps (Old Building 1) | Instrumentation and Control | 0 | 0
Jet Pumps (Old Building 1) | Process and Utility | 0 | 0
Jet Pumps (Old Building 1) | Operational | 0 | 0
Jet Pumps (Old Building 1) | Maintenance and Spares | 0 | 0
Jet Pumps (Old Building 1) | Planned Maintenance | 0 | 0
Jet Pumps (Old Building 1) | External Factors | 0 | 0
Jet Pumps (Old Building 2) | Mechanical | 0 | 0
Jet Pumps (Old Building 2) | Electrical | 0 | 0
Jet Pumps (Old Building 2) | Instrumentation and Control | 0 | 0
Jet Pumps (Old Building 2) | Process and Utility | 0 | 0
Jet Pumps (Old Building 2) | Operational | 0 | 0
Jet Pumps (Old Building 2) | Maintenance and Spares | 0 | 0
Jet Pumps (Old Building 2) | Planned Maintenance | 0 | 0
Jet Pumps (Old Building 2) | External Factors | 0 | 0
Jet Pumps (Debottleneck) | Mechanical | 0 | 0
Jet Pumps (Debottleneck) | Electrical | 0 | 0
Jet Pumps (Debottleneck) | Instrumentation and Control | 0 | 0
Jet Pumps (Debottleneck) | Process and Utility | 0 | 0
Jet Pumps (Debottleneck) | Operational | 0 | 0
Jet Pumps (Debottleneck) | Maintenance and Spares | 0 | 0
Jet Pumps (Debottleneck) | Planned Maintenance | 0 | 0
Jet Pumps (Debottleneck) | External Factors | 0 | 0
Borehole 1 | Mechanical | 0 | 0
Borehole 1 | Electrical | 0 | 0
Borehole 1 | Instrumentation and Control | 0 | 0
Borehole 1 | Process and Utility | 0 | 0
Borehole 1 | Operational | 0 | 0
Borehole 1 | Maintenance and Spares | 0 | 0
Borehole 1 | Planned Maintenance | 0 | 0
Borehole 1 | External Factors | 0 | 0
Borehole 2 | Mechanical | 0 | 0
Borehole 2 | Electrical | 0 | 0
Borehole 2 | Instrumentation and Control | 0 | 0
Borehole 2 | Process and Utility | 0 | 0
Borehole 2 | Operational | 0 | 0
Borehole 2 | Maintenance and Spares | 0 | 0
Borehole 2 | Planned Maintenance | 0 | 0
Borehole 2 | External Factors | 0 | 0
Borehole 3 | Mechanical | 0 | 0
Borehole 3 | Electrical | 0 | 0
Borehole 3 | Instrumentation and Control | 0 | 0
Borehole 3 | Process and Utility | 0 | 0
Borehole 3 | Operational | 0 | 0
Borehole 3 | Maintenance and Spares | 0 | 0
Borehole 3 | Planned Maintenance | 0 | 0
Borehole 3 | External Factors | 0 | 0
Borehole 4 | Mechanical | 0 | 0
Borehole 4 | Electrical | 0 | 0
Borehole 4 | Instrumentation and Control | 0 | 0
Borehole 4 | Process and Utility | 0 | 0
Borehole 4 | Operational | 0 | 0
Borehole 4 | Maintenance and Spares | 0 | 0
Borehole 4 | Planned Maintenance | 0 | 0
Borehole 4 | External Factors | 0 | 0
Borehole 5 | Mechanical | 0 | 0
Borehole 5 | Electrical | 0 | 0
Borehole 5 | Instrumentation and Control | 0 | 0
Borehole 5 | Process and Utility | 0 | 0
Borehole 5 | Operational | 0 | 0
Borehole 5 | Maintenance and Spares | 0 | 0
Borehole 5 | Planned Maintenance | 0 | 0
Borehole 5 | External Factors | 0 | 0
Borehole 6 | Mechanical | 0 | 0
Borehole 6 | Electrical | 0 | 0
Borehole 6 | Instrumentation and Control | 0 | 0
Borehole 6 | Process and Utility | 0 | 0
Borehole 6 | Operational | 0 | 0
Borehole 6 | Maintenance and Spares | 0 | 0
Borehole 6 | Planned Maintenance | 0 | 0
Borehole 6 | External Factors | 0 | 0
Borehole 7 | Mechanical | 0 | 0
Borehole 7 | Electrical | 0 | 0
Borehole 7 | Instrumentation and Control | 0 | 0
Borehole 7 | Process and Utility | 0 | 0
Borehole 7 | Operational | 0 | 0
Borehole 7 | Maintenance and Spares | 0 | 0
Borehole 7 | Planned Maintenance | 0 | 0
Borehole 7 | External Factors | 0 | 0
UV-1 | Mechanical | 0 | 0
UV-1 | Electrical | 0 | 0
UV-1 | Instrumentation and Control | 0 | 0
UV-1 | Process and Utility | 0 | 0
UV-1 | Operational | 0 | 0
UV-1 | Maintenance and Spares | 0 | 0
UV-1 | Planned Maintenance | 0 | 0
UV-1 | External Factors | 0 | 0
UV-2 | Mechanical | 0 | 0
UV-2 | Electrical | 0 | 0
UV-2 | Instrumentation and Control | 0 | 0
UV-2 | Process and Utility | 0 | 0
UV-2 | Operational | 0 | 0
UV-2 | Maintenance and Spares | 0 | 0
UV-2 | Planned Maintenance | 0 | 0
UV-2 | External Factors | 0 | 0
UV-3 | Mechanical | 0 | 0
UV-3 | Electrical | 0 | 0
UV-3 | Instrumentation and Control | 0 | 0
UV-3 | Process and Utility | 0 | 0
UV-3 | Operational | 0 | 0
UV-3 | Maintenance and Spares | 0 | 0
UV-3 | Planned Maintenance | 0 | 0
UV-3 | External Factors | 0 | 0
UV-4 | Mechanical | 0 | 0
UV-4 | Electrical | 0 | 0
UV-4 | Instrumentation and Control | 0 | 0
UV-4 | Process and Utility | 0 | 0
UV-4 | Operational | 0 | 0
UV-4 | Maintenance and Spares | 0 | 0
UV-4 | Planned Maintenance | 0 | 0
UV-4 | External Factors | 0 | 0
Pressure Filter Tank 1 | Mechanical | 0 | 0
Pressure Filter Tank 1 | Electrical | 0 | 0
Pressure Filter Tank 1 | Instrumentation and Control | 0 | 0
Pressure Filter Tank 1 | Process and Utility | 0 | 0
Pressure Filter Tank 1 | Operational | 0 | 0
Pressure Filter Tank 1 | Maintenance and Spares | 0 | 0
Pressure Filter Tank 1 | Planned Maintenance | 0 | 0
Pressure Filter Tank 1 | External Factors | 0 | 0
Pressure Filter Tank 2 | Mechanical | 0 | 0
Pressure Filter Tank 2 | Electrical | 0 | 0
Pressure Filter Tank 2 | Instrumentation and Control | 0 | 0
Pressure Filter Tank 2 | Process and Utility | 0 | 0
Pressure Filter Tank 2 | Operational | 0 | 0
Pressure Filter Tank 2 | Maintenance and Spares | 0 | 0
Pressure Filter Tank 2 | Planned Maintenance | 0 | 0
Pressure Filter Tank 2 | External Factors | 0 | 0
Pressure Filter Tank 3 | Mechanical | 0 | 0
Pressure Filter Tank 3 | Electrical | 0 | 0
Pressure Filter Tank 3 | Instrumentation and Control | 0 | 0
Pressure Filter Tank 3 | Process and Utility | 0 | 0
Pressure Filter Tank 3 | Operational | 0 | 0
Pressure Filter Tank 3 | Maintenance and Spares | 0 | 0
Pressure Filter Tank 3 | Planned Maintenance | 0 | 0
Pressure Filter Tank 3 | External Factors | 0 | 0
Pressure Filter Tank 4 | Mechanical | 0 | 0
Pressure Filter Tank 4 | Electrical | 0 | 0
Pressure Filter Tank 4 | Instrumentation and Control | 0 | 0
Pressure Filter Tank 4 | Process and Utility | 0 | 0
Pressure Filter Tank 4 | Operational | 0 | 0
Pressure Filter Tank 4 | Maintenance and Spares | 0 | 0
Pressure Filter Tank 4 | Planned Maintenance | 0 | 0
Pressure Filter Tank 4 | External Factors | 0 | 0
Pressure Filter Tank 5 | Mechanical | 0 | 0
Pressure Filter Tank 5 | Electrical | 0 | 0
Pressure Filter Tank 5 | Instrumentation and Control | 0 | 0
Pressure Filter Tank 5 | Process and Utility | 0 | 0
Pressure Filter Tank 5 | Operational | 0 | 0
Pressure Filter Tank 5 | Maintenance and Spares | 0 | 0
Pressure Filter Tank 5 | Planned Maintenance | 0 | 0
Pressure Filter Tank 5 | External Factors | 0 | 0
Pre-Filter Bag | Mechanical | 0 | 0
Pre-Filter Bag | Electrical | 0 | 0
Pre-Filter Bag | Instrumentation and Control | 0 | 0
Pre-Filter Bag | Process and Utility | 0 | 0
Pre-Filter Bag | Operational | 0 | 0
Pre-Filter Bag | Maintenance and Spares | 0 | 0
Pre-Filter Bag | Planned Maintenance | 0 | 0
Pre-Filter Bag | External Factors | 0 | 0
Post-Filter Bag | Mechanical | 0 | 0
Post-Filter Bag | Electrical | 0 | 0
Post-Filter Bag | Instrumentation and Control | 0 | 0
Post-Filter Bag | Process and Utility | 0 | 0
Post-Filter Bag | Operational | 0 | 0
Post-Filter Bag | Maintenance and Spares | 0 | 0
Post-Filter Bag | Planned Maintenance | 0 | 0
Post-Filter Bag | External Factors | 0 | 0
Raw Water Pumps | Mechanical | 0 | 0
Raw Water Pumps | Electrical | 0 | 0
Raw Water Pumps | Instrumentation and Control | 0 | 0
Raw Water Pumps | Process and Utility | 0 | 0
Raw Water Pumps | Operational | 0 | 0
Raw Water Pumps | Maintenance and Spares | 0 | 0
Raw Water Pumps | Planned Maintenance | 0 | 0
Raw Water Pumps | External Factors | 0 | 0
Treated Water Pumps | Mechanical | 0 | 0
Treated Water Pumps | Electrical | 0 | 0
Treated Water Pumps | Instrumentation and Control | 0 | 0
Treated Water Pumps | Process and Utility | 0 | 0
Treated Water Pumps | Operational | 0 | 0
Treated Water Pumps | Maintenance and Spares | 0 | 0
Treated Water Pumps | Planned Maintenance | 0 | 0
Treated Water Pumps | External Factors | 0 | 0
Chilled Water Inlet Pumps | Mechanical | 0 | 0
Chilled Water Inlet Pumps | Electrical | 0 | 0
Chilled Water Inlet Pumps | Instrumentation and Control | 0 | 0
Chilled Water Inlet Pumps | Process and Utility | 0 | 0
Chilled Water Inlet Pumps | Operational | 0 | 0
Chilled Water Inlet Pumps | Maintenance and Spares | 0 | 0
Chilled Water Inlet Pumps | Planned Maintenance | 0 | 0
Chilled Water Inlet Pumps | External Factors | 0 | 0
Chilled Water Outlet Pumps | Mechanical | 0 | 0
Chilled Water Outlet Pumps | Electrical | 0 | 0
Chilled Water Outlet Pumps | Instrumentation and Control | 0 | 0
Chilled Water Outlet Pumps | Process and Utility | 0 | 0
Chilled Water Outlet Pumps | Operational | 0 | 0
Chilled Water Outlet Pumps | Maintenance and Spares | 0 | 0
Chilled Water Outlet Pumps | Planned Maintenance | 0 | 0
Chilled Water Outlet Pumps | External Factors | 0 | 0
RO Plant | Mechanical | 0 | 0
RO Plant | Electrical | 0 | 0
RO Plant | Instrumentation and Control | 0 | 0
RO Plant | Process and Utility | 0 | 0
RO Plant | Operational | 0 | 0
RO Plant | Maintenance and Spares | 0 | 0
RO Plant | Planned Maintenance | 0 | 0
RO Plant | External Factors | 0 | 0
Utility Tanks (Raw Water, Treated Water, Chilled Water, Boiler Feed Water, RO Water) | Mechanical | 0 | 0
Utility Tanks (Raw Water, Treated Water, Chilled Water, Boiler Feed Water, RO Water) | Electrical | 0 | 0
Utility Tanks (Raw Water, Treated Water, Chilled Water, Boiler Feed Water, RO Water) | Instrumentation and Control | 0 | 0
Utility Tanks (Raw Water, Treated Water, Chilled Water, Boiler Feed Water, RO Water) | Process and Utility | 0 | 0
Utility Tanks (Raw Water, Treated Water, Chilled Water, Boiler Feed Water, RO Water) | Operational | 0 | 0
Utility Tanks (Raw Water, Treated Water, Chilled Water, Boiler Feed Water, RO Water) | Maintenance and Spares | 0 | 0
Utility Tanks (Raw Water, Treated Water, Chilled Water, Boiler Feed Water, RO Water) | Planned Maintenance | 0 | 0
Utility Tanks (Raw Water, Treated Water, Chilled Water, Boiler Feed Water, RO Water) | External Factors | 0 | 0
Air Receiver Tanks | Mechanical | 0 | 0
Air Receiver Tanks | Electrical | 0 | 0
Air Receiver Tanks | Instrumentation and Control | 0 | 0
Air Receiver Tanks | Process and Utility | 0 | 0
Air Receiver Tanks | Operational | 0 | 0
Air Receiver Tanks | Maintenance and Spares | 0 | 0
Air Receiver Tanks | Planned Maintenance | 0 | 0
Air Receiver Tanks | External Factors | 0 | 0
Steam Distribution | Mechanical | 0 | 0
Steam Distribution | Electrical | 0 | 0
Steam Distribution | Instrumentation and Control | 0 | 0
Steam Distribution | Process and Utility | 0 | 0
Steam Distribution | Operational | 0 | 0
Steam Distribution | Maintenance and Spares | 0 | 0
Steam Distribution | Planned Maintenance | 0 | 0
Steam Distribution | External Factors | 0 | 0
Treated Water Distribution | Mechanical | 0 | 0
Treated Water Distribution | Electrical | 0 | 0
Treated Water Distribution | Instrumentation and Control | 0 | 0
Treated Water Distribution | Process and Utility | 0 | 0
Treated Water Distribution | Operational | 0 | 0
Treated Water Distribution | Maintenance and Spares | 0 | 0
Treated Water Distribution | Planned Maintenance | 0 | 0
Treated Water Distribution | External Factors | 0 | 0
Chilled Water Distribution | Mechanical | 0 | 0
Chilled Water Distribution | Electrical | 0 | 0
Chilled Water Distribution | Instrumentation and Control | 0 | 0
Chilled Water Distribution | Process and Utility | 0 | 0
Chilled Water Distribution | Operational | 0 | 0
Chilled Water Distribution | Maintenance and Spares | 0 | 0
Chilled Water Distribution | Planned Maintenance | 0 | 0
Chilled Water Distribution | External Factors | 0 | 0
Steam Condensate Collection | Mechanical | 0 | 0
Steam Condensate Collection | Electrical | 0 | 0
Steam Condensate Collection | Instrumentation and Control | 0 | 0
Steam Condensate Collection | Process and Utility | 0 | 0
Steam Condensate Collection | Operational | 0 | 0
Steam Condensate Collection | Maintenance and Spares | 0 | 0
Steam Condensate Collection | Planned Maintenance | 0 | 0
Steam Condensate Collection | External Factors | 0 | 0
Compressed Air Distribution | Mechanical | 0 | 0
Compressed Air Distribution | Electrical | 0 | 0
Compressed Air Distribution | Instrumentation and Control | 0 | 0
Compressed Air Distribution | Process and Utility | 0 | 0
Compressed Air Distribution | Operational | 0 | 0
Compressed Air Distribution | Maintenance and Spares | 0 | 0
Compressed Air Distribution | Planned Maintenance | 0 | 0
Compressed Air Distribution | External Factors | 0 | 0
Formulas:
Period End = IF(GROUP_BY="Day",[Period Start],IF(GROUP_BY="Week",[Period Start]+6,IF(GROUP_BY="Month",DATE(YEAR([Period Start]),MONTH([Period Start])+1,0),IF(GROUP_BY="Quarter",DATE(YEAR([Period Start]),MONTH([Period Start])+3,0),DATE(YEAR([Period Start]),12,31)))))

## Dashboard
#VALUE! | UTILITY DOWNTIME DASHBOARD
Everything below reacts to this control panel — the KPIs, both tables and both charts. Set a filter to a specific value to narrow the whole dashboard to it; leave it on '(All ...)' to include everything. Nothing here needs sorting or refreshing by hand.
CONTROL PANEL — edit the yellow cells only
Period Start Date | 2026-01-01 | Equipment Category |  | (All Categories) |  |  | Analyse by | Equipment
Period End Date | 2026-12-31 | Equipment |  | (All Equipment) |  |  | Sort by | Downtime Hours
No. of Equipment in Scope | 72 | Failure Category |  | (All Failure Categories) |  |  | Order | Highest first
RCA trigger — hours at or above | 4 | Downtime Type |  | (All Types) |  |  | Show top | 10
RCA trigger — repeats at or above | 3 | Shift |  | (All Shifts) |  |  | Group trend by | Month
Calendar Hours in Period | 8760 | Status |  | (All Statuses) |  |  | Trend order | Chronological
Total Available Equipment-Hours | 630720 | These six filters apply to the whole dashboard at once. |  |  |  |  | 'Analyse by' rebuilds the left table; 'Group trend by' rebuilds the right.
KEY PERFORMANCE INDICATORS (reflecting every filter above)
Total Downtime Events |  |  | Total Downtime (Hrs) |  |  | MTTR (Hrs / event) |  |  | MTBF (Hrs / event)
2 |  |  | 84.75 |  |  | 42.38 |  |  | 315317.6
Fleet Availability |  |  | Unplanned Downtime (Hrs) |  |  | Open / Unresolved Events |  |  | Events Requiring RCA
99.99% |  |  | 84.8 |  |  | 0 |  |  | 2
BREAKDOWN BY EQUIPMENT — sorted by downtime hours, highest first | [6 empty] | TREND BY MONTH — chronological
Member | Events | Downtime (Hrs) | MTTR (Hrs) | % of Total | Cumulative % |  | Period | Events | Downtime (Hrs) | MTTR (Hrs)
TRANE Chiller 2 + Cooling Tower | 1 | 79.5 | 79.5 | 93.81% | 93.81% |  | Jan 2026 | 0 | 0 |  | 79.5 | 1
Boiler 3 (THERMAX) | 1 | 5.25 | 5.25 | 6.195% | 100% |  | Feb 2026 | 0 | 0 |  | 5.25 | 2
[7 empty] | Mar 2026 | 0 | 0 |  |  | 3
[7 empty] | Apr 2026 | 0 | 0 |  |  | 4
[7 empty] | May 2026 | 0 | 0 |  |  | 5
[7 empty] | Jun 2026 | 0 | 0 |  |  | 6
[7 empty] | Jul 2026 | 0 | 0 |  |  | 7
[7 empty] | Aug 2026 | 2 | 84.75 | 42.38 |  | 8
[7 empty] | Sept 2026 | 0 | 0 |  |  | 9
[7 empty] | Oct 2026 | 0 | 0 |  |  | 10
[7 empty] | Nov 2026 | 0 | 0 |  |  | 11
[7 empty] | Dec 2026 | 0 | 0 |  |  | 12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
CHRONIC FAILURES — same asset, same failure category, at or above your repeat trigger | [11 empty] | 28
Equipment | Failure Category |  | Events | Downtime (Hrs) | [7 empty] | 29
30
31
32
33
34
35
36
37
38
39
Blank means nothing has yet failed the same way often enough to qualify. Anything listed is an RCA candidate. | [11 empty] | 40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
Day view shows the first 60 days of the period.

## Macro Setup
OPTIONAL MACROS — PLAIN-ENGLISH SETUP GUIDE
READ THIS FIRST
You do not need macros. Every drop-down, every calculation and every chart in this workbook already works without them. If this feels like too much trouble, skip this sheet — nothing breaks.
A macro is simply a short set of instructions stored inside the file. Excel keeps them in a separate editor window. You will paste in some text, save the file under a slightly different file type, and never have to look at it again. It takes about five minutes.
WHAT YOU GAIN BY INSTALLING THEM
| Click-to-fill dates | Click a Date cell, then click a day on the calendar. Without macros the calendar can only be read, not clicked.
| Stale choices cleared | Change the Equipment Category and the Equipment cell empties itself. Without this, a leftover entry from the old category stays behind and quietly corrupts your analysis — the single most common data-entry error in a sheet like this.
| Double-click to stamp time | Double-click a Start or End Time cell to enter the time right now. Useful when you are logging as the event happens.
| Entry checks | Warns you when an end time precedes a start time on a day shift, or when times are entered on a row with no date.
| One-click period buttons | Set the Dashboard to this month, last month or year-to-date without typing dates.
| Reports on demand | Pull every unresolved event onto its own sheet, or get an instant count of open, overdue and CAPEX-blocked investigations.
BEFORE YOU START
You need the file 'Downtime_Template_Macros.txt' that came with this workbook. Open it in Notepad. It has two parts, marked PART A and PART B, which go into two different places. Keep both windows open — you will be switching between them.
STEP BY STEP
| 1 | Open this workbook in Excel on a Windows PC. Macros do not run in Excel for the web, and support on Mac is patchy.
| 2 | Hold ALT and press F11. A separate window opens titled 'Microsoft Visual Basic for Applications'. It looks bare and unfamiliar — that is normal.
| 3 | In the narrow 'Project' panel on the left you will see your file name and a folder called 'Microsoft Excel Objects'. Click the plus sign to open it if it is closed.
| 4 | Inside it is one line per sheet, written like Sheet3 (Downtime Log). DOUBLE-CLICK the one that says (Downtime Log). A large blank white window opens on the right.
| 5 | In Notepad, select everything between the PART A markers and copy it. Come back to the blank white window and paste. Part A done.
| 6 | In the editor's top menu click Insert, then Module. A second blank white window opens and a 'Modules' folder appears on the left.
| 7 | Copy everything between the PART B markers and paste it into this second window. Part B done.
| 8 | Close the editor (the X in its corner, or press ALT and F11 again).
| 9 | Click File, then Save As. In the drop-down under the file name — the one currently reading 'Excel Workbook' — choose 'Excel Macro-Enabled Workbook (*.xlsm)'. Click Save. This step is essential: saving as .xlsx silently deletes everything you just pasted.
| 10 | Close the file and open it again. A yellow bar appears reading 'SECURITY WARNING - Macros have been disabled'. Click 'Enable Content'. You only do this once per PC for this file.
HOW TO CHECK IT WORKED
Go to the Downtime Log, click any cell in the Date column, then scroll right to the green DATE PICKER and click a day. The date should jump into the cell you selected.
Second check: pick an Equipment Category and an Equipment, then change the Category. The Equipment cell should clear itself.
IF SOMETHING GOES WRONG
| Nothing happens at all | The file is probably still saved as .xlsx. Redo step 9.
| No yellow security bar | Your IT policy may block macros entirely. Nothing you can do at your end — the workbook still works fully without them.
| An error message pops up | You most likely pasted Part A and Part B into the same window. Clear both windows and start again from step 3.
| You want to undo it all | Save the file again as 'Excel Workbook (*.xlsx)'. That strips every macro out and returns you to where you started.
WHY THERE IS NO BUILT-IN CALENDAR
Excel used to ship a Date and Time Picker control, but it only ever worked in the 32-bit version and Microsoft retired it. There is no replacement. Every calendar you see in an Excel file today is either a macro or a paid add-in — which is why this one is built the way it is.